## Quotation
COPA B Co., Ltd.
Smart Weighing Solutions
E-mail: contact@copa-demo.example
QUOTATION
TO: |  |  |  |  | SENDER: Contact COPA
ATTN: |  |  |  |  | CC:
TEL:
DATE:
No. | Item / Model | Unit | Qty | Unit Price (USD) | Total Price (USD) | Product Description
I | Equipment name: , S/N: , supports, sets. Equipment tare-weight: t, material weight: t, total weight t, rated capacity: t, display interval: kg. Controller, 4-20 mA analog output, 220 VAC. Ex-proof environment.
1 | Weighing module | pc |  |  |  | Load cell material: 17-4PH stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ia IIC T6 Ga Ex iaD 20 T80; module accessory material: nickel-plated alloy steel; Brand: flintec
2 | Junction box | pc |  |  |  | Material: 304 stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ib IIC T4 Gb; Ex ib IIIC T130°C Db; Brand: flintec
3 | Weighing display controller | pc
4 | Signal cable | m |  |  |  | Double metal-wire-braid shielded 6-core cable; Brand: flintec
5 | Upper mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
6 | Lower mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
7 | Subtotal | set | 1
8 | Sets Total | set
II | Equipment name: , S/N: , supports, sets. Equipment tare-weight: t, material weight: t, total weight t, rated capacity: t, display interval: kg. Controller, 4-20 mA analog output, 220 VAC. Ex-proof environment.
1 | Weighing module | pc |  |  |  | Load cell material: 17-4PH stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ia IIC T6 Ga Ex iaD 20 T80; module accessory material: nickel-plated alloy steel; Brand: flintec
2 | Junction box | pc |  |  |  | Material: 304 stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ib IIC T4 Gb; Ex ib IIIC T130°C Db; Brand: flintec
3 | Weighing display controller | pc
4 | Signal cable | m |  |  |  | Double metal-wire-braid shielded 6-core cable; Brand: flintec
5 | Upper mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
6 | Lower mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
7 | Subtotal | set | 1
8 | Sets Total | set
III | Equipment name: , S/N: , supports, sets. Equipment tare-weight: t, material weight: t, total weight t, rated capacity: t, display interval: kg. Controller, 4-20 mA analog output, 220 VAC. Ex-proof environment.
1 | Weighing module | pc |  |  |  | Load cell material: 17-4PH stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ia IIC T6 Ga Ex iaD 20 T80; module accessory material: nickel-plated alloy steel; Brand: flintec
2 | Junction box | pc |  |  |  | Material: 304 stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ib IIC T4 Gb; Ex ib IIIC T130°C Db; Brand: flintec
3 | Weighing display controller | pc
4 | Signal cable | m |  |  |  | Double metal-wire-braid shielded 6-core cable; Brand: flintec
5 | Upper mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
6 | Lower mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
7 | Subtotal | set | 1
8 | Sets Total | set
IV | Equipment name: , S/N: , supports, sets. Equipment tare-weight: t, material weight: t, total weight t, rated capacity: t, display interval: kg. Controller, 4-20 mA analog output, 220 VAC. Ex-proof environment.
1 | Weighing module | pc |  |  |  | Load cell material: 17-4PH stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ia IIC T6 Ga Ex iaD 20 T80; module accessory material: nickel-plated alloy steel; Brand: flintec
2 | Junction box | pc |  |  |  | Material: 304 stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ib IIC T4 Gb; Ex ib IIIC T130°C Db; Brand: flintec
3 | Weighing display controller | pc
4 | Signal cable | m |  |  |  | Double metal-wire-braid shielded 6-core cable; Brand: flintec
5 | Upper mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
6 | Lower mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
7 | Subtotal | set | 1
8 | Sets Total | set
V | Equipment name: , S/N: , supports, sets. Equipment tare-weight: t, material weight: t, total weight t, rated capacity: t, display interval: kg. Controller, 4-20 mA analog output, 220 VAC. Ex-proof environment.
1 | Weighing module | pc |  |  |  | Load cell material: 17-4PH stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ia IIC T6 Ga Ex iaD 20 T80; module accessory material: nickel-plated alloy steel; Brand: flintec
2 | Junction box | pc |  |  |  | Material: 304 stainless steel, with G1/2 explosion-proof flexible conduit threaded joint; explosion-proof rating: Ex ib IIC T4 Gb; Ex ib IIIC T130°C Db; Brand: flintec
3 | Weighing display controller | pc
4 | Signal cable | m |  |  |  | Double metal-wire-braid shielded 6-core cable; Brand: flintec
5 | Upper mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
6 | Lower mounting adapter plate | pc |  |  |  | Carbon steel, galvanized after surface treatment, with a full set of high-strength screws
7 | Subtotal | set | 1
8 | Sets Total | set
A | Equipment Total | set
B | Grand Total | set
Terms & Conditions:
1.Packing: Cartons 包装：纸箱
2.Payment：100% T/T 支付方式：100% T/T
3.Warranty：12 Months against delivery date； 质保：交货后起算12个月
4.Delivery：Dispatch within 30 working days after receiving full payment, freight charge within China (non-remote area) included. 交货：收到全款后30个工作日内发货，价格含国内非偏远地区运费
5.If verification is required, it shall be responsible by the side of request. 如需检定，需方自行负责
6.Quotation vaildity：14 days 报价有效期：14天
7. Accuracy is closely related to the equipment environment; factors such as the tank foundation structure, piping connections, electromagnetic interference and temperature may all affect the accuracy. 精度与设备环境密切相关，罐子基础结构、管道连接、电磁干扰、温度等因素都可能影响到精度。
8. Quotation above are exclusive of ramp or adapting plates. 以上报价不包含引坡，以及安装过渡板